## Generating Station
Generating Station
GeneratingStationID | PK
OwnerNames | (cache column)
GeneratingStationName
Installed Capacity
MVA Capacity
Classification Name
Latitude
Longitude
Classification | FK(GeneratingStationClassification)
Region
Comes under jurisdiction of (SLDC/RLDC) | (SLDC/RLDC)
Generating Station Type | FK(GeneratingStationType)
Fuel | FK(Fuel)

## GeneratingStationClassification
ID
Classification

## Fuel
ID
Fuel

## GeneratingStationType
ID
Station Type

## GeneratingStationOwners
OwnerID | FK(Owner)
GeneratingStationID | FK(Generating Station)

## Substation
Substation
SubstationID | PK
Owner Name(s) | (cache column)
Voltage Level | FK(Voltage Level)
Location | FK(Location)
Substation Name(Derived) | (cache column)
Type(AC/DC) | (AC/DC)
Latitude
Longitude

## Transformer
Transformer
TransformerID | PK
Element ID | FK (elements)
Type | (ICT/GT)
Transformer Name (derived) | (cached column)
LV Voltage Level | FK(Voltage Level)
HV Voltage Level | FK(Voltage Level)
MVA Capacity (MW) | number
Make

## Bus
Bus
BusID | PK
Element ID | FK (elements)
SubstationID | FK(Substation)
BusType | (Main/Transfer/Auxillary)

## LineReactor
LineReactor
LineReactorID | PK
Element ID | FK (elements)
SubstationID | FK(Substation)
Line | FK(hvdc/ac)
MVAR Capacity
Name
Substation should be one of the ends of the line associated

## HVDCLine
HVDCLine
HVDCLineID | PK
FromBus | FK(Bus)
ToBus | FK(Bus)
Voltage Level
Circuit No
Length (km)
Conductor Type
Line Circuit Name
SPS
Element ID | FK (elements)
Constraints:
FromBus and ToBus should belong to HVDC Substation and both the substations should be different with the same voltage level

## Bay
Bay
BayID | PK
ElementID | FK(Elements)
ConnectingElement1 | FK(Elements)
ConnectingElement2 | FK(Elements)
Voltage Level(kV) | FK(Voltage)
Bay Type | Tie Bay / Main Bay / Bus Coupler Bay / Bus Sectionalizer Bay / TBC Bay
isFuture | boolean
ConnectingElement1 and ConnectingElement2 should be present in the same substation
For a Tie Bay Element1 and Element2 would be Non-Bus
For a Main Bay exactly one of the element1 or element2 would be bus
For a Bus Coupler, Bus Sectionalizer, TBC Bay elment1 and element2 both are bus type
TODOS
whether to fix element1 as bus for main bay
spare bay column may be added

## ACTransmissionLine
ACTransmissionLine
ACTransLineID | PK
ElementID | FK(Elements)
FromBus | FK(Bus)
ToBus | FK(Bus)
Line Name | cached column
Voltage Level
Circuit No | string
Length (km)
Conductor Type
Auto Reclosure | boolean
Line Circuit Name
Sending End SPS | boolean
Receiving End SPS | boolean
Date of 1st time Charging
combination of FromBus, ToBus and CircuitNo is unique
FromBus and ToBus should belong to AC Substation and both the substations should be different with the same voltage level

## BusReactor
BusReactor
BusReactorID | PK
ElementID | FK(Element)
BusID | FK(Bus)
MVAR Capacity | (number)
Name | (cached column)

## SVC
SVC
SvcID | PK
ElementID | FK(Elements)
BusId | FK(Bus)
SVC Name
SVC Number | string
MVARmax
Qmax
Time Constant(Td)
Firing Delay(Tf)
Xsl(Slope Reactance)
Rated MVAR/ Phase
Rated Current (AMPS)
Make
TCR Differntial Protection Make
TCR Differntial Protection Settings
Negative Phase sequence protection Make
Negative Phase sequence protection Settings
TCR current limiter/overload protection Make
TCR current limiter/overload protection Settings
Over voltage protection Make
Over voltage protection Settings
Constraints:
Combination of BusId and SVCNumber is unique
The bus should belong to AC substation only
TODO
identify unnecessary columns

## HVDCPole
HVDC Pole
HVDCPoleID | PK
ElementID | FK(Element)
Voltage Level |  | 1
Pole Name | Cached Column | 1
Pole Number | string | 1
Pole Type | Rectifier / Inverter&Rectifier | 1
Max Firing Angle(deg) |  | 1
Min Firing Angle(deg) |  | 1
Bridges in Series
Primary Base Voltage (kV)
SPS
SPS Settings
Commercial Operation Date
Constraints:
Combination of Substation and PoleNumber should be unique
Substation should be HVDC substation only
TODO
Remove unnecessary columns

## Generating Unit
Generating Unit
UnitID | PK
GeneratingStationID | FK(GeneratingStation)
Unit Name | (cache column)
Installed capacity | (number)
Gen voltage | FK(Voltage Level)
Generating Transformer HV Voltage | FK(Voltage Level)
Gen voltage will be less than Generating Transformer Voltage

## Owner
Owner
OwnerID | PK
Owner Name |  | unique
constituentId | FK | on delete restrict

## Constituent
constituent
ConstituentID | PK
ConstituentName |  | unique

## Elements
Elements
ElementID | PK
SubstationID1 | FK(Substation)
SubstationID2 | FK(Substation)
Element Type
Owner Names | (caching column)
Element Number | (string)
Commissioning Date
De Commissioning Date
Commercial Operation Date
Location | (FK)
State
city
Element Name | (cache column)
if the element type is not a line or transformer substationID2 should be null
if the element type is transformer substationID1 and substationID2 should belong to the same location
if the element type is transmission line substationID1 and substationID2 should not belong to the same location
combination of substationID1, substationID2, elementType, elementNumber is unique for non bus elements
combination of substationID1, substationID2, elementNumber,busType is unique for bus element type
TODOs
FSC

## Measurements
MeasurementId | PK
ElementId | FK(Element)
MeasurementType | FK(MeasurementTypes)
DataSource | FK(DataSource)
HistorianId | string
Constraints:
Combination of ElementId, measurementType and DataSource are unique

## MeasurementTypes
id | PK
name | string
name should be unique

## metrics
MeasurementId | FK(Measurement)
timestamp | datetime
quality | enum (GOOD, GARBAGE, SUSPECT)
value | double
constraints:
combination of measurementId and timestamp are unique

## DataSource
id | PK
name | string
name should be unique

## Ownerandelement relation
Owner Element Relation Table
Key | PK
Owner ID | FK
Element ID | FK

## OwnerAndSubstation
Owner Substation Relation Table
OwnerID | FK(Owner)
SubstationID | FK(Substation)

## Location
LocationID | PK
LocationName
RegionID | FK(Region)
State | FK(State)
Alias | nullable,string

## State
State
StateID
State Name | Unique

## Voltage Level
Voltage Level
ID
Voltage Level | Unique

## Region
RegionID | PK
RegionName |  | unique name

## FilterBank
Filter Bank
FilterBankID | PK
ElementID | FK(Element)
Voltage | FK(Voltage Level)
MVAR | number
Is Switchable? | boolean

## SubFilterBank
SubFilterBankID | PK
FilterBankID | FK(FilterBank)
ElementID | FK(Element)

## Compensator
Compensator
CompensatorID | PK
ElementID | FK(Elements)
% variable compensation | number
% fixed compensation | number
Line Reactance (OHMS) | number
Main Capacitor(micro F) | number
TCR inductance (mH) | number
Ld in Bypass Breaker (mH) | number
Capacitor Reactance(OHMS) | number
Rated MVAR/Phase | number
Rated Current (AMPS) | number
TODO
Identify unnecessary columns

## Tables
Substation |  | Bay |  | Transformer
SubstationID | PK | BayID | PK | TransformerID | PK
OwnerID | FK(Owner) | ElementID | FK(Elements) | ElementID | FK(Element)
|  | ConnectingElement1 | FK(Elements)
Generating Station |  | ConnectingElement2 | FK(Elements) | ACTransmissionLine
GeneratingStationID | PK | OwnerID | FK(Owner) | ACTransLineID | PK
OwnerID | FK(Owner) |  |  | FromSubstation | FK(Substation)
|  | Compensator |  | ToSubstation | FK(Substation)
Unit |  | CompensatorID | PK | Owner | FK(Owner)
UnitsID | PK | Element ID | FK | FromBus | FK(Bus)
GeneratingStationID | FK(GeneratingStation) |  |  | ToBus | FK(Bus)
|  |  |  | Element ID | FK
Location |  | HVDC
LocationID | PK | HVDCLineID | PK | HVDCLine
|  | Owner | FK(Owner) | HVDCLineID | PK
Owner |  | FromSubstation | FK(Substation) | FromSubstation | FK(Substation)
OwnerID | PK | ToSubstation | FK(Substation) | ToSubStation | FK(Substation)
|  |  |  | Owner | FK(Owner)
Elements |  | SVC |  | FromBus | FK(Bus)
ElementID | PK | SvcID | PK | ToBus | FK(Bus)
SubstationID1 | FK(Substation) | ElementID | FK(Elements) | Element ID | FK
SubstationID2 | FK(Substation)
OwnerID | FK(Owner) | HVDC Pole |  | LineReactor
|  | HVDCPoleID | PK | LineReactorID | PK
|  | ElementID | FK(Element) | ElementID | FK(Element)
BusReactor
|  | BusReactorID | PK
|  | ElementID | FK(Element)
Bus
|  | BusID | PK
|  | ElementID | FK(Element)