## BAY
Sr No. | Column Name | Column Type | Value
1 | Name | varchar | Main Bay - 765KV-GWALIOR-AGRA-2 AND GWALIOR - 765KV - Bus 1
2 | Type | char | Main Bay
3 | Bay Number | int | 710
4 | Voltage | varchar | 765Kv
5 | Sub Station | varchar | GWALIOR-765 KV
6 | Element 1 | varchar | 765KV-GWALIOR-AGRA-2
7 | Element 2 | varchar | GWALIOR - 765KV - Bus 1
8 | Owner | varchar | POWERGRID-WR2 (PGCIL)
MANDATORY FIELD
Sr No. | Column Name | Column Type | Value
1 | Voltage Level(kV) | int | 765 kV
2 | Bay Type | select from 5 options | Main Bay
3 | Station type | select from 2 options | Generating station/substation
4 | Substation | select from the options | GWALIOR - 765KV
5 | Generating Statoin | select | select
6 | Element 1 | select from the options | 765KV-GWALIOR-AGRA-2
7 | Element 2 | select from the options | GWALIOR - 765KV- Bus 1
8 | Bay Number | int | 710
9 | Bay Name | str | Main Bay - 765KV-GWALIOR-AGRA-2 AND GWALIOR-765KV-BUS 1
10 | Owner Name | select one or more from options | POWERGRID-WR2(PGCIL) , ACBIL

## SVC
Sr No. | Column Name | Column Type | Value
1 | SVC Name | varchar | AKOLA - 400KV SVC 2142345
2 | Owner | char | ACBIL, ACPL
3 | Region | char | WEST REGION
4 | MVAR max | int | 10
5 | Q max | int | 10
6 | Time Constant (Td) | int | 10
7 | Firing Display (Tf) | int | 5
8 | Xsl (Slope Reactance) | int | 5
9 | Rated MVAR/Phase | int | 3
10 | Rated Current(AMPS) | int | 6
11 | Make | int | 7
12 | Make | int | 6
13 | Setting | int | 7
14 | Make | int | 8
15 | Setting | int | 8
16 | Make | int | 6
17 | Setting | int | 6
18 | Make | int | 6
19 | Setting | int | 6
Basic Information
Sr No. | Column Name | Column Type | Value
1 | Region | select from 5 options | West Region
2 | State | select from the options | Maharashtra
3 | Substation | select from the options | AKOLA - 400KV
4 | SVC No. | int | 2142345
5 | SVC Name | varchar | AKOLA - 400 KV SVC 2142345
6 | Bus | select from the options | AKOLA - 400 KV BUS 1
7 | Owner | select one or more | ACBIL , ACPL
8 | MVAR max | int | 10
9 | Qmax | int | 10
Details
Sr No. | Column Name | Column Type | Value
1 | Time Constant (Td) | int | 10
2 | Firing Delay(Tf) | int | 5
3 | Xsl(slope reactance) | int | 5
4 | Rated MVAR/ Phase | int | 3
5 | Rated Current (AMPS) | int | 6
6 | Make | int | 7
7 | Date of Commissioning | varchar or show calendar | 19-03-2019
8 | Date of Die-Commissioning | varchar or show calendar | 28-03-2019
9 | Commercial Operating Date | varchar or show calendar | 20-03-2019
TCR Differential Protection
Sr No. | Column Name | Column Type | Value
1 | Make | int | 6
2 | Settings | int | 7
Negative Phase sequence protection
Sr No. | Column Name | Column Type | Value
1 | Make | int | 8
2 | Settings | int | 8
TCR current limiter/overload protection
Sr No. | Column Name | Column Type | Value
1 | Make | int | 6
2 | Settings | int | 6
Over voltage protection
Sr No. | Column Name | Column Type | Value
1 | Make | int | 6
2 | Settings | int | 6

## OWNER
Sr No. | Column Name | Column Type | Value
1 | Owner Name | varchar | Adani Green Energy MP Ltd
2 | Constituent | varchar | POWERGRID-WR2 (PGCIL)

## SUBSTATION
Sr No. | Column Name | Column Type | Value
1 | Major SubStation | varchar | SIDHPUR PS(TORRENT)
2 | Voltage Level | varchar | 220KV
3 | Sub Station Name | varchar | SIDHPUR PS(TORRENT) - 220KV
4 | Owner | varcahr | Torrent Power (TPL)
5 | Region | char | WEST REGION
6 | State | char | GUJARAT
7 | Type(AC/DC) | char | AC
Basic Information (Enable for PSP)
Sr No. | Column Name | Column Type | Value
1 | Major Substation Name | select from the options | SIDHPUR PS(TORRENT)
2 | Voltage Level | select from the options | 220KV
3 | Substation Name | varhcar | SIDHPUR PS(TORRENT) - 220KV
4 | Alternate Name | str
5 | Region | select from 5 options | WEST REGION
6 | State | select from the options | GUJARAT
7 | Owner | select one or many from the options | Torrent Power(TPL)
8 | No. of Buses | int | 2
9 | No. of Auxiliary Buses | int
10 | No. of Transfer Buses | int | 1
11 | Sub Station Type - 1 | select from 2 options | AC
12 | Sub Station Type - 2 | select from 2 options | Conventional
Capacitor
Sr No. | Column Name | Column Type | Value
1 | Capacitor Switching based on Power Order | select from 2 options | Yes/No
2 | Capacitor Switching based on Power Order Setting | str | Capacitor Switching based
3 | Capacitor Bank Availability | select from 2 options | Yes/No
4 | Number of Capacitor Banks | str | Effective Capacity
5 | Capacitor Bank Configuration | str | Capacitor Bank Configuration
Details
Sr No. | Column Name | Column Type | Value
1 | Latitude | varchar | Latitude
2 | Longitude | varhcar | Longitude
3 | Remote Controlled Location | select from 2 options | Yes/No
4 | Remote Controlled From | select from the options
5 | Frequency Band Control Active/Disabled | select from 2 options | Active/Disabled
6 | Frequency Control Active/Disabled | select from 2 options | Active/Disabled
7 | AC Bypass Facility availability in case of HVDC B2B | select from the options
8 | AC Bypass facility Healthiness in case of HVDC B2B | select from the options
9 | Bus Coupler Availability | select from 2 options | Yes/No
10 | Bus Coupler Healthiness | select from the options
11 | POD Controller Active/Disabled | select from 2 options | Active/Disabled
12 | Scada Data Reporting(SLDC/RLDC) | select from 2 options | SLDC/RLDC
13 | Date Of Commissioning (DD-MM-YYYY) | varchar or show calendar
14 | Date Of De-Commissioning (DD-MM-YYYY) | varchar or show calendar
15 | Commercial Operation Date (COD) (DD-MM-YYYY) | varchar or show calendar
Transmission elements
Sr No. | Column Name | Column Type | Value
1 | No of Tr Line Emanating | int | 0
2 | No of Bus Reactors | int | 0
3 | No of Tertiary Reactors | int | 0
4 | No of Line Reactors | int | 0
5 | No of Transformers | int | 0

## Generating Station
Sr No. | Column Name | Column Type | Value
| Generating Station Name | varchar | ACBIL
| Owner | varchar | ACBIL
| No of Units | int | 6
| Installed Capacity | float | 430
| MVA Capacity | float | 430
| Classification Name | varchar | REGIONAL_IPP
| Region | char | WEST REGION
| Location | char | CHHATTISGARH
Basic Information
Sr No. | Column Name | Column Type | Value
1 | Station Name | varchar | ACBIL
2 | Classfication | select from the options | REGIONAL_IPP
3 | State | select from the options
4 | Region | select from 5 options | WEST REGION
5 | Location | select from the options | CHHATTISGARH
6 | Beneficiaries | select from the options
7 | Comes under jurisdiction of (SLDC/RLDC) | select from 2 options | SLDC/RLDC
8 | State Type | select from the options | THERMAL
9 | Fuel | select from the options | COAL
10 | Owner | select from the options | ACBIL
11 | Latitude | varchar
12 | Longitude | varchar
13 | Consider Value For Report From : | select from the options | State file , Manual Input
14 | Show name in PSP | tick / leave
15 | Configurable for SCADA | tick / leave
16 | Configurable for State Operation | tick / leave
17 | Pump Flag | tick / leave
18 | Owner Flag | tick / leave
Details
Sr No. | Column Name | Column Type | Value
1 | Scada Data Reporting To | tick one or both | RLDC/SLDC
2 | Bus Coupler Availability | select from the options | Yes/No
3 | Bus Coupler Healthiness | select from the options | Yes/No
4 | Tariff order issued by | tick one or both | CERC/SERC
5 | Energy Charge Rate in Rs/unit | float
6 | Scada Data Availibility | select from the options | SLDC/RLDC/BOTH/NONE

## HVDC Line
Sr No. | Column Name | Column Type | Value
| Line Name | varchar | HVDC800KV-Raigarh-GIS-HVDC-PUGALUR-1
| Voltage Level | varchar | 800KV
| From Substation | varchar | Raigarh-GIS-HVDC - 800KV
| To Substation | varchar | PUGALUR - 800KV
| Circuit No | int | 1
| Length (km) | int | 1830
| Owner | varchar | POWERGRID-WR1 (PGCIL), POWERGRID-SR
| Region | char | SOUTH REGION
| Conductor Type | char | Quad Bersimis
Basic Line Information
Sr No. | Column Name | Column Type | Value
| From Region | select from 5 options | WEST REGION
| To Region | select from 5 options | SOUTH REGION
| From State | select from the options | CHHATTISGARH
| To State | select from the options | TAMILNADU
| Voltage Level | select from the options | 800KV
| From Substation | select from the options | Raigarh-GIS-HVDC - 800KV
| To Substation | select from the options | PUGALUR - 800KV
Line Circuit Information
Sr No. | Column Name | Column Type | Value
| Circuit No | select from the options | 1
| From Bus | select from the options | Raigarh-GIS-HVDC - 800KV-Bus-1
| To Bus | select from the options | PUGALUR - 800KV-Bus-1
| Line Circuit Name | varchar | HVDC800KV-Raigarh-PUGALUR-1
| Length | int | 1830
| Owner | select from the options | POWERGRID-WR1 (PGCIL), POWERGRID-SR
| Conductor Type | select from the options | Quad Bersimis
| SPS | select from 2 options | No
| Date of Commissioning | varchar or show calendar
| Date of Decommission | varchar or show calendar
| Commercial Date of Operation | varchar or show calendar

## AC Transmission Line
Sr No. | Column Name | Column Type | Value
| Line Name | varchar | 400KV-PADHGE-PG-KHARGHAR-1
| Voltage Level | varhcar | 400KV
| From Substation | varchar | PADGHE-PG-400KV
| To Substation | varhcar | KHARGHAR-400KV
| Circuit No | int | 1
| Length (km) | int | 0
| Owner | char | Maharashtra
| Region | char | WEST REGION
| Conductor Type | char | Quad ACSR Moose
BASIC LINE INFORMATION
Sr No. | Column Name | Column Type | Value
| From Region | select from 5 options | WEST REGION
| To Region | select from 5 options | WEST REGION
| From State | select from the options | MAHARASHTRA
| To State | select from the options | MAHARASHTRA
| Configurable for State | tick/leave
| Voltage Level | varchar | 400KV
| From Substation | select from the options | PADGHE-PG-400KV
| To Substation | select from the options | KHARGHAR-400KV
| Consider From State File(From State) | tick/leave
| Consider From State File(To State) | tick/leave
| With Respect To | select from 1 option | Two Way
| Auto Reclosure | tick/leave
Line Circuit Information
Sr No. | Column Name | Column Type | Value
| Circuit No | select from the options | 1
| From Bus | select from the options | PADGHE-PG-400KV-BUS-1
| To Bus | select from the options | KHARGHAR-400KV-BUS-1
| Configurable for State | tick/leave
| Line Circuit Name | varchar | 400KV-PADGHE-PG-KHARGHAR-1
| Length | int | 0
| Owner | select from the options | Maharashtra
| Conductor Type | select from the options | Quad ACSR Moose
| Sending End SPS | select from 2 options | No
| Receiving End SPS | select from 2 options | No
| Date of 1st time Charging | varchar or show calendar
| Date of Decommission | varchar or show calendar
| Date of Operation (COD) | varchar or show calendar
| Read From State File | tick/leave

## HVDC Pole
Sr No. | Column Name | Column Type | Value
| Pole_Name | varchar | HVDC 70KV VINDHYACHAL Pole 2
| Pole Type | char | Inverter and Rectifier
| Substation | varchar | VINDHYACHAL - 70KV
| Owner | varchar | POWERGRID-WR2 (PGCIL)
| Region | char | WEST REGION
| Max Firing Angle(deg) | int | 0
| Min Firing Angle(deg) | int | 0
| Bridges in Series | int | 0
Basic Information
Sr No. | Column Name | Column Type | Value
| Pole Id | int | 2
| Region | select from 5 options | WEST REGION
| State | select from the options | MADHYA PRADESH
| Voltage Level | select from the options | 70KV
| Substation | select from the options | VINDHYACHAL - 70KV
| Owner | select from the options | POWERGRID-WR2 (PGCIL)
| Pole Name | varchar | HVDC 70KV VINDHYACHAL Pole 2
| Pole Type | select from the options | Inverter and Rectifier
Details
Sr No. | Column Name | Column Type | Value
| Max Firing Angle(deg) | int | 0
| Min Firing Angle(deg) | int | 0
| Bridges in Series | int | 0
| Primary Base Voltage (kV) | int | 0
| SPS | select from 2 options | No
| SPS Settings | char | SPS Setting
| Date Of Commissioning | varchar or show calendar
| Commercial Operation Date | varchar or show calendar
| Date Of De-Commissioning | varchar or show calendar

## Transformer
Sr No. | Column Name | Column Type | Value
| State | char | GUJARAT
| Region | char | WEST REGION
| Transformer Name | varchar | 220KV/33KV SIDHPUR PS(TORRENT)-ICT-1
| Owner | char | Torrent Power (TPL)
| Type | char | ICT
Basic Information
Sr No. | Column Name | Column Type | Value
| Region | select from 5 options | WEST REGION
| State | select from the options | GUJARAT
| Type | select from the options | ICT
| Station Type | select from the options | SubStation
| LV Voltage Level | select from the options | 33KV
| HV Voltage Level | select from the options | 220KV
| HV Station | select from the options | SIDHPUR PS(TORRENT)
| Transformer Number | select from the options | 1
| Transformer Name | varchar | 220KV/33KV SIDHPUR PS(TORRENT)-ICT-1
| MVA Capacity (MW) | int | 125
| Owner Name | select from the options | Torrent Power (TPL)
| Configurable for State Operation | tick/leave
| Configurable for Scada | tick/leave
Next Information
Sr No. | Column Name | Column Type | Value
| Nominal High Voltage Rating (kV) | int | 0
| Nominal Low Voltage Rating (kV) | int | 0
| Is It Spare Transformer?(YES / NO) | select from 2 options
| Teritiary Rating (kV) | int | 0
| Tertiary Vector group | char | Tertiary Vector group
| HV Vector group | char | HV Vector group
| LV Vector group | char | LV Vector group
| SPS (YES / NO) | select from 2 options | No
| Make | char | Make
| Date of commission | varchar or show calendar
| Date of decommission | varchar or show calendar
| Commercial date of operation | varchar or show calendar
| SPS Settings | char | SPS Settings

## Line Reactor
Sr No. | Column Name | Column Type | Value
| Name | varchar | 400KV-SEONI-PG-KHANDWA-1 L/R@ KHANDWA - 400KV
| State | char | MADHYA PRADESH
| Region | char | WEST REGION
| Line | varchar | 400KV-SEONI-PG-KHANDWA-1
| Sub Station | varchar | KHANDWA - 400KV
| Owners | char | Madhya Pradesh
| MVAR Capacity | int | 80
Mandatory Field
Sr No. | Column Name | Column Type | Value
| Region | select from 5 options | WEST REGION
| State | select from the options | MADHYA PRADESH
| Sub Station | select from the options | KHANDWA - 400KV
| Line Type | select from the options | Ac Transmission Line
| Line | select from the options | 400KV-SEONI-PG-KHANDWA-1
| Name | varchar | 400KV-SEONI-PG-KHANDWA-1 L/R@ KHANDWA - 400KV
| Is Convertible | select from 2 options | Yes
| Is Switchable | select from 2 options | Yes
| Date of De-Commissioning | varchar or show calendar
| Date of Commissioning | varchar or show calendar
| Commercial Operation Date | varchar or show calendar
| Owner Name | select from the options | Madhya Pradesh
| MVAR Capacity | int | 80

## Bus Reactor
Sr No. | Column Name | Column Type | Value
| Name | varchar | PADGHE-PG - 400KV B/R 1
| Reactor No | int | 1
| State | char | MAHARASHTRA
| Region | char | WEST REGION
| BusNumber | int | 2
| Sub Station | varchar | PADGHE-PG - 400KV
| Owners | varchar | POWERGRID-WR1 (PGCIL)
| MVAR Capacity | int | 125
Mandatory Field
Sr No. | Column Name | Column Type | Value
| Reactor No | int | 1
| Region | select from 5 options | WEST REGION
| State | select from the options | MAHARASHTRA
| Sub Station | select from the options | PADGHE-PG - 400KV
| Name | varchar | PADGHE-PG - 400KV B/R 1
| Bus | select from the options | PADGHE-PG - 400KV - Bus 2
| Date of De-Commissioning | varchar or show calendar
| Date of Commissioning | varchar or show calendar
| Commercial Operation Date | varchar or show calendar
| Owner Name | select from the options | POWERGRID-WR1 (PGCIL)
| MVAR Capacity | int | 125

## FSC
Sr No. | Column Name | Column Type | Value
| FSC Name | varchar | 400KV-RAIPUR-Wardha-2 FSC@ Wardha
| Substation | varchar | Wardha - 400KV
| Owner | varchar | POWERGRID-WR1 (PGCIL)
| Region | char | WEST REGION
| % compensation | int | 0
| Line Reactance (OHMS) | int | 0
| Capacitor Reactance(OHMS) | int | 0
| Rated MVAR/Phase | int | 0
| Rated Current(AMPS) | int | 0
Over Voltage Prot Settings
Automatic Bypass(Yes/No)
Minimum Current to take FSC into service
Basic Information
Sr No. | Column Name | Column Type | Value
| Region | select from 5 options | WEST REGION
| State | select from the options | Maharashtra
| Sub Station | select from the options | Wardha - 400KV
| Line Type | select from the options | AC_TRANSMISSION_LINE
| Line | select from the options | 400KV-RAIPUR-Wardha-2
| Owner | select from the options | POWERGRID-WR1 (PGCIL)
| FSC Name | varchar | 400KV-RAIPUR-Wardha-2 FSC@ Wardha
Details
Sr No. | Column Name | Column Type | Value
| %compensation | int | 0
| Line Reactance (OHMS) | int | 0
| Capacitance Reactance(OHMS) | int | 0
| Rated MVAR/Phase | int | 0
| Rated Current(AMPS) | int | 0
| Commissioning Datetime | varchar or show calendar
| Decommissioning Datetime | varchar or show calendar
| Commercial Date of Operation | varchar or show calendar
Detailed Info
Sr No. | Column Name | Column Type | Value
| Automatic Bypass(Yes/No) | select from 2 options
| Minimum Current to take FSC into service | float
Capacitor over load protection
Sr No. | Column Name | Column Type | Value
| Make | float
| Settings | float
Varistor over temperature protection
Sr No. | Column Name | Column Type | Value
| Make | float
| Settings | float
Capacitor Unbalanced Protection
Sr No. | Column Name | Column Type | Value
| Make | float
| Settings | float
Over voltage protection
Sr No. | Column Name | Column Type | Value
| Make | float
| Settings | float

## Compensator
Sr No. | Column Name | Column Type | Value
| TCSC Name | varchar | 220KV-AURANGABAD-SHENDRA-1 STATCOM@SHENDRA
| TCSC Number | int | 3
| Owner | char | DUMMY
| Region | char | WEST REGION
| % variable compensation | int | 20
| % fixed compensation | int | 40
| Line Reactance (OHMS) | int | 0
| Main Capacitor(micro F) | int | 0
| TCR inductance (mH) | int | 0
| Ld in Bypass Breaker (mH) | int | 0
| Capacitor Reactance(OHMS) | int | 0
| Rated MVAR/Phase | int | 0
| Rated Current (AMPS) | int | 0
Basic Information
Sr No. | Column Name | Column Type | Value
| Region | select from 5 options | WEST REGION
| State | select from the options | MAHARASHTRA
| Sub Station | select from the options | SHENDRA-220KV
| Line Type | select from the options | AC_Line
| Line | select from the options | 220KV-AURANGABAD-SHENDRA-1 STATCOM@SHENDRA
| Device Types | select from the options | STATCOM
| Compensator Name | varchar | 220KV-AURANGABAD-SHENDRA-1 STATCOM@SHENDRA
| Compensator No | int | 3
| % Variable compensation | float | 20
| % Fixed compensation | float | 40
| Owner | select from the options | DUMMY
| Line Reactance (OHMS) | int | 0
| Main Capacitor(micro F) | int | 0
| TCR Inductance (mH) | int | 0
| Ld in Bypass Breaker (mH) | int | 0
| Capacitor Reactance (OHMS) | int | 0
| Rated MVAR/Phase | int | 0
| Rated Current(AMPS) | int | 0
Details
Sr No. | Column Name | Column Type | Value
| Make | char | Make
| Date Of Commissioning | varchar or show calendar
| Date Of De-Commissioning | varchar or show calendar
| Commercial Operation Date | varchar or show calendar
Capacitor over load protection
Sr No. | Column Name | Column Type | Value
| Make | char | Make
| Settings | char | Settings
Varistor over temperature protection
Sr No. | Column Name | Column Type | Value
| Make | char | Make
| Settings | char | Settings
Capacitor Unbalanced Protection
Sr No. | Column Name | Column Type | Value
| Make | char | Make
| Settings | char | Settings
Over voltage protection
Sr No. | Column Name | Column Type | Value
| Make | char | Make
| Settings | char | Settings

## Filter Bank
Sr No. | Column Name | Column Type | Value
| Region | char | WEST REGION
| State | char | CHHATTISGARH
| Voltage | varchar | 400KV
| Substation | varhcar | Raigarh-GIS-HVDC - 400KV
MVAR
| Filter Bank No | int | 5
| Is Switchable? | char | No
| Owners | varchar | POWERGRID-WR1 (PGCIL)
Region
Sr No. | Column Name | Column Type | Value
| Region | select from 5 options | WEST REGION
| State | select from the options | CHHATTISGARH
| Voltage | select from the options | 400KV
| Substation | select from the options | Raigarh-GIS-HVDC - 400KV
MVAR
| Filter Bank No | select from the options | 5
| Is Switchable? | select from 2 options | No
| Owners | select from the options | POWERGRID-WR1 (PGCIL)

## Sub Filter Bank
Sr No. | Column Name | Column Type | Value
| Filter Bank Name | varchar | CHAMPA-HVDC - 400KV Filter Bank 1 Sub Filter HAC Q13 TYPE-E BIPOLE-1
| Region | char | WEST REGION
| State | char | CHHATTISGARH
| Voltage | varchar | 400KV
| Substation | varchar | CHAMPA-HVDC - 400KV
| MVAR | float | 157
| Filter Bank No | int | 1
| Is Switchable? | char | Yes
| Owners | varhcar | POWERGRID-WR1 (PGCIL)
Input Details
Sr No. | Column Name | Column Type | Value
| Region | select from 5 options | WEST REGION
| State | select from the options | CHHATTISGARH
| Voltage | select from the options | 400KV
| Substation | select from the options | CHAMPA-HVDC - 400KV
| MVAR | float | 157
| Filter Bank No | select from the options | 1
| Sub Filter Tag | varchar | HAC Q13 TYPE-E BIPOLE-1
| Filter Bank Name | varchar | CHAMPA-HVDC - 400KV Filter Bank 1 Sub Filter HAC Q13 TYPE-E BIPOLE-1
| Is Switchable? | select from 2 options | Yes
| Owner Name | select from the options | POWERGRID-WR1 (PGCIL)

## measurements
MeasId | entity ID | metric id | datasource id | historian measurement ID
1 | 1234 | power flow | SCADA | id1
2 | 1234 | reactance | SCADA | id2
3 | 1234 | power flow | REMC | id3
4 | 1234 | reactance | REMC | id4

## metric
id | name | unit
1 | power flow | MW
2 | voltage | KV
3 | reactance | MVAR

## datasource
id | name
1 | SCADA
2 | URTDSM
3 | REMC

## measurement_data
measid | timestamp | quality (Enum) | value (double)
1 | 2025-07-11 12:56 | GOOD | 13234.54